Project summary – Marcel – Aug-Sept 2026

Development of a soft hollow fibre bioreactor for muscle Tissue Engineering

Project Summary

This summer project focuses on the design and assembly of a soft, flexible bioreactor chamber to support skeletal muscle tissue engineering using electrospun hollow fiber scaffolds. The system will be developed as part of a broader DPhil project that investigates the application of electrospun hollow fibers for the development of a skeletal muscle drug testing platform.

Hollow fiber bioreactors are widely used to mimic native vasculature to enable efficient delivery of oxygen and nutrients and removal of metabolic waste by overcoming diffusion limits that restrict tissue thickness in static cultures (Eghbali et al., 2016). Recent advances demonstrate that densely packed, perfused hollow fiber arrays can support centimeter-scale muscle tissue formation with improved structural and functional maturation (Nie et al, 2025).

In this project, you will contribute to the design of soft chamber enabling dual perfusion and mechanical stimulation, both of which are critical for muscle tissue development.

Project Objectives

- Understand the design concept of a flexible chamber (see Marie’s transfer report) that can accommodate electrospun hollow fibers.

- Improve the existing concept to enable clean, easy and consistent manufacture. The design should ensure sufficient space and geometry for fiber potting and sealing and confirm structural integrity and leak-free operation. It should also allow for force transmission from mechanical loading systems.

- Ensure the chamber can be integrated into an external mechanical stimulation system (e.g., stretching or cyclic loading).

Methods

Prototype the chamber using the Fusion 360 design software, stereolithography 3D printing, and gluing of a soft membrane.

Relevant Papers

Nie, M. et al. (2025) ‘Scalable tissue biofabrication via perfusable hollow fiber arrays for cultured meat applications’, Trends in Biotechnology, 43(8), pp. 1938–1960. doi:10.1016/j.tibtech.2025.02.022.

Hou, Y. et al. (2022) ‘The application of hollow fiber cartridge in biomedicine’, Pharmaceutics, 14(7), p. 1485. doi:10.3390/pharmaceutics14071485.

Diban, N. and Stamatialis, D. (2014) ‘Polymeric hollow fiber membranes for bioartificial organs and tissue engineering applications’, Journal of Chemical Technology &amp; Biotechnology, 89(5), pp. 633–643. doi:10.1002/jctb.4300.

Eghbali, H. et al. (2016) ‘Hollow fiber bioreactor technology for tissue engineering applications’, The International Journal of Artificial Organs, 39(1), pp. 1–15. doi:10.5301/ijao.5000466.